## Areas
Name
1 | Area 1

## Thermal_config
| Capacity (MW) | Entrance_Stage | Tipo | Area | Fuel | dummy | GenMin | GenMax | forced_unavailability | historic_unavailability | O&M variable | MBTU/MWh | FE Ton/Mwh
a | 140 | E | Gas | Area 1 | Combustible 1 |  | 0 | 140 | 0 | 0 | 7.5 | 1 | 1

## Thermal_expn
Modification | max (MW) | GenMin | GenMax | forced_unavailability | historic_unavailability

## FuelCost
USD/MBTU | Combustible 1
2018-01-01 12:00:00 | 1
2018-02-01 12:00:00 | 2
2018-03-01 12:00:00 | 1

## RationingCosts
Segmento 1
2018-01-01 12:00:00 | 2
2018-02-01 12:00:00 | 12
2018-03-01 12:00:00 | 12

## Small_config
max (MW) | Entrance_Stage | Tipo | Area | GenMin | GenMax | forced_unavailability | historic_unavailability

## Small_expn
Modification | max (MW) | forced_unavailability | historic_unavailability

## Hydro_config
| initial storage (Hm3) | min storage (Hm3) | max storage (Hm3) | capacity (MW) | prod coefficient (MW/m3/s) | max turbining outflow (m3/s) | Entrance_Stage | Initial_Storage_Stage | O&M cost ($/MWh) | T-Downstream | S-Downstream | Area | Tipo | forced_unavailability | historic_unavailability | FE Ton/Mwh
URRA | 200 | 0 | 500 | 338 | 1 | 700 | E | 3 | 37.35 |  |  | Area 1 | Liquids | 0.36 | 9.18 | 1

## Hydro_expn
capacity (MW) | prod coefficient (MW/m3/s) | max turbining outflow (m3/s) | Modification | forced_unavailability | historic_unavailability(%) | max storage (Hm3)

## Inflow
0 | stage | scenario | sogamoso | san_lorenzo | san_carlos | calderas | miel_i | amoya
1 | 1 | 1 | 320.2484 | 37.3276 | 20.6213 | 13.7321 | 135.9983 | 34.8382
2 | 1 | 2 | 260.7716 | 53.5116 | 17.2238 | 9.2721 | 195.7019 | 13.9173
3 | 1 | 3 | 137.6399 | 42.8873 | 15.2733 | 2.8185 | 158.5938 | 33.0516
4 | 1 | 4 | 673.825 | 45.4077 | 27.1363 | 12.2405 | 120.7835 | 22.3966
5 | 1 | 5 | 207.7038 | 37.8442 | 22.5863 | 11.0881 | 84.2602 | 28.0637
6 | 1 | 6 | 506.8529 | 44.7054 | 29.5303 | 6.9798 | 167.3439 | 23.7421
7 | 2 | 1 | 498.6719 | 44.1566 | 31.4247 | 3.3804 | 131.5762 | 25.1078
8 | 2 | 2 | 562.3695 | 28.7883 | 1.0525 | 15.3613 | 84.9372 | 34.1457
9 | 2 | 3 | 486.374 | 60.3156 | 27.5394 | 1.8662 | 139.7121 | 43.5051
10 | 2 | 4 | 284.3022 | 53.5629 | 4.677 | 10.8868 | 155.0286 | 43.0542
11 | 2 | 5 | 642.908 | 62.4807 | 36.4253 | 9.6906 | 122.3157 | 27.2986
12 | 2 | 6 | 915.9172 | 25.486 | 22.9406 | 12.6764 | 118.0753 | 28.1989
13 | 3 | 1 | 462.051 | 15.845 | 21.2396 | 10.3266 | 129.4977 | 21.1506
14 | 3 | 2 | 836.0575 | 41.1208 | 40.9645 | 10.5019 | 182.0747 | 30.3433
15 | 3 | 3 | 478.9329 | 60.55 | 39.9701 | 6.3138 | 253.2306 | 28.4765
16 | 3 | 4 | 105.3473 | 30.1374 | 34.468 | 5.9734 | 99.9027 | 32.0431
17 | 3 | 5 | 430.1876 | 63.4418 | 26.3026 | 8.3852 | 144.8189 | 31.1288
18 | 3 | 6 | 205.9365 | 52.1695 | 12.8235 | 7.2 | 187.6368 | 19.9205
19 | 4 | 1 | 995.0448 | 51.7275 | 31.869 | 9.3364 | 98.5567 | 26.4022
20 | 4 | 2 | 651.7354 | 45.8212 | 71.1962 | 9.9261 | 135.3167 | 38.0519
21 | 4 | 3 | 636.7741 | 74.6258 | 44.029 | 9.819 | 126.1559 | 37.1313
22 | 4 | 4 | 1264.1757 | 33.5467 | 51.1027 | 4.131 | 124.5872 | 32.8699
23 | 4 | 5 | 757.875 | 49.2862 | 9.6101 | 9.768 | 119.7217 | 24.2292
24 | 4 | 6 | 460.6086 | 102.7899 | 65.9498 | 9.6265 | 108.9415 | 24.9434
25 | 5 | 1 | 511.9332 | 79.1461 | 41.7225 | 4.1493 | 140.1001 | 22.5636
26 | 5 | 2 | 471.1055 | 39.7412 | 57.4931 | 18.2712 | 133.9922 | 21.3516
27 | 5 | 3 | 668.8415 | 73.1451 | 39.1338 | 15.7152 | 84.7028 | 38.613
28 | 5 | 4 | 692.4731 | 61.4578 | 48.2811 | 17.5688 | 101.7919 | 25.5368
29 | 5 | 5 | 926.7817 | 39.0833 | 31.3703 | 16.1984 | 95.163 | 25.6816
30 | 5 | 6 | 548.3858 | 70.944 | 55.3367 | 11.7456 | 170.2697 | 22.7986
31 | 6 | 1 | 661.1702 | 84.8357 | 39.5822 | 11.63 | 93.6936 | 24.3336
32 | 6 | 2 | 585.2375 | 83.052 | 26.439 | 12.8588 | 192.7262 | 40.6394
33 | 6 | 3 | 466.5106 | 56.2694 | 34.7475 | 11.314 | 79.7533 | 25.1074
34 | 6 | 4 | 789.2396 | 65.8405 | 31.5696 | 8.0036 | 189.0927 | 28.7529
35 | 6 | 5 | 255.6358 | 86.6382 | 34.7949 | 4.7159 | 158.4896 | 29.0778
36 | 6 | 6 | 358.4046 | 62.1984 | 29.8746 | 10.4302 | 137.2176 | 24.0389
37 | 7 | 1 | 98.6934 | 65.7626 | 15.6397 | 10.8583 | 114.4973 | 36.6035
38 | 7 | 2 | 624.2988 | 75.6158 | 5.5438 | 2.5624 | 108.8947 | 27.7898
39 | 7 | 3 | 413.7771 | 58.2855 | 42.6466 | 12.4452 | 68.6629 | 40.0302
40 | 7 | 4 | 524.5984 | 81.3149 | 10.4816 | 3.8569 | 87.615 | 32.9879
41 | 7 | 5 | 375.1894 | 77.8979 | 10.6195 | 4.9131 | 85.7072 | 27.9952
42 | 7 | 6 | 431.6485 | 59.801 | 4.2521 | 11.6696 | 129.8384 | 36.4155
43 | 8 | 1 | 872.6551 | 39.1863 | 41.2279 | 14.9993 | 70.8659 | 23.8098
44 | 8 | 2 | 439.2487 | 72.0769 | 12.9209 | 5.2966 | 53.7558 | 27.6771
45 | 8 | 3 | 723.6507 | 100.6576 | 17.9746 | 5.5742 | 70.5328 | 33.5602
46 | 8 | 4 | 400.9643 | 47.0814 | 20.3106 | 13.8528 | 98.5239 | 36.6856
47 | 8 | 5 | 446.315 | 78.4495 | 27.1114 | 2.3339 | 60.1215 | 26.5341
48 | 8 | 6 | 561.98 | 73.7991 | 30.2587 | 8.0082 | 62.8995 | 19.0521
49 | 9 | 1 | 356.7071 | 64.905 | 24.964 | 3.7724 | 54.9733 | 25.4218
50 | 9 | 2 | 223.8714 | 63.7269 | 24.1367 | 6.7254 | 129.5113 | 21.464
51 | 9 | 3 | 787.3312 | 105.2801 | 29.5431 | 8.2929 | 186.5866 | 29.4206
52 | 9 | 4 | 613.8149 | 53.5929 | 20.9948 | 6.5259 | 77.5444 | 16.0539
53 | 9 | 5 | 381.3898 | 81.9613 | 26.0833 | 6.1184 | 48.9835 | 26.7575
54 | 9 | 6 | 660.8587 | 95.9962 | 20.5775 | 8.1994 | 81.1498 | 24.3487
55 | 10 | 1 | 803.0846 | 49.9565 | 16.282 | 10.7181 | 117.9367 | 24.8982
56 | 10 | 2 | 704.1085 | 65.5634 | 45.6431 | 6.6667 | 86.3084 | 37.0204
57 | 10 | 3 | 617.6802 | 85.0361 | 56.8086 | 11.4189 | 116.7961 | 22.263
58 | 10 | 4 | 486.7247 | 67.4366 | 57.0858 | 15.0272 | 102.5408 | 13.0876
59 | 10 | 5 | 810.0492 | 14.7275 | 49.3706 | 10.1765 | 182.923 | 24.5432
60 | 10 | 6 | 1110.6494 | 107.8818 | 53.4755 | 4.3195 | 155.2787 | 35.9506
61 | 11 | 1 | 761.2763 | 86.4084 | 49.2997 | 10.9756 | 144.854 | 31.1804
62 | 11 | 2 | 857.9672 | 82.4234 | 47.5084 | 9.5901 | 164.6398 | 33.5736
63 | 11 | 3 | 479.5065 | 66.3467 | 29.164 | 8.8627 | 152.2965 | 19.1262
64 | 11 | 4 | 530.2301 | 75.7691 | 49.2666 | 5.6737 | 198.7477 | 41.279
65 | 11 | 5 | 785.6689 | 58.6555 | 16.4797 | 15.9606 | 148.2641 | 29.8811
66 | 11 | 6 | 713.6191 | 61.126 | 42.0667 | 9.9323 | 156.5907 | 18.8922
67 | 12 | 1 | 214.7987 | 55.1281 | 3.6098 | 9.5121 | 80.3217 | 27.4007
68 | 12 | 2 | 694.6129 | 55.5361 | 30.8746 | 7.5018 | 123.3886 | 23.2813
69 | 12 | 3 | 395.0011 | 48.4279 | 8.959 | 3.9079 | 225.5934 | 17.9152
70 | 12 | 4 | 728.6902 | 20.176 | 41.9514 | 5.8715 | 194.5483 | 19.8011
71 | 12 | 5 | 234.1079 | 34.5463 | 25.8612 | 8.4212 | 186.6836 | 29.677
72 | 12 | 6 | 202.629 | 33.8684 | 24.9787 | 3.1324 | 128.7275 | 22.6107
73 | 13 | 1 | 463.0537 | 26.4012 | 0.020972 | 5.1063 | 122.5865 | 22.4145
74 | 13 | 2 | 276.3327 | 23.7599 | 23.5517 | 4.1606 | 106.7844 | 15.6923
75 | 13 | 3 | 246.6826 | 38.419 | 8.314 | 3.356 | 135.7306 | 26.3515
76 | 13 | 4 | 203.3041 | 36.4731 | 15.0052 | 3.7302 | 63.7053 | 2.2429
77 | 13 | 5 | 400.6102 | 47.6237 | 32.5747 | 4.7394 | 171.4871 | 21.3599
78 | 13 | 6 | 293.6637 | 52.3366 | 7.5114 | 0.80429 | 136.2236 | 4.3466
79 | 14 | 1 | 84.8781 | 26.6327 | 7.9402 | 0.84112 | 104.9287 | 23.0004
80 | 14 | 2 | 333.3064 | 16.7919 | 5.7489 | 1.7134 | 140.9449 | 25.5183
81 | 14 | 3 | 201.5824 | 30.5494 | 3.6591 | 10.4307 | 98.691 | 15.2456
82 | 14 | 4 | 537.971 | 37.4412 | 2.7949 | 0.66518 | 67.0308 | 20.2043
83 | 14 | 5 | 276.7258 | 21.3742 | 6.8259 | 6.5776 | 116.3113 | 16.4808
84 | 14 | 6 | 489.1524 | 29.8914 | 6.4946 | 4.4736 | 61.6437 | 22.3598
85 | 15 | 1 | 177.7441 | 52.989 | 11.4304 | 9.7563 | 104.518 | 9.5815
86 | 15 | 2 | 296.2747 | 17.2327 | 30.3224 | 8.6488 | 126.2994 | 26.7963
87 | 15 | 3 | 324.2537 | 58.6597 | 15.0442 | 4.3789 | 116.1454 | 23.4224
88 | 15 | 4 | 364.0607 | 47.3581 | 9.8013 | 5.4488 | 114.3244 | 10.2469
89 | 15 | 5 | 293.297 | 35.1636 | 22.7356 | 3.4143 | 35.0201 | 21.2923
90 | 15 | 6 | 423.8743 | 33.7957 | 13.4094 | 5.4488 | 122.0845 | 17.791
91 | 16 | 1 | 226.8124 | 55.3322 | 37.5154 | 9.323 | 75.7551 | 27.6731
92 | 16 | 2 | 314.4625 | 35.0365 | 3.6715 | 3.546 | 138.2155 | 18.2025
93 | 16 | 3 | 310.545 | 28.5764 | 31.6042 | 13.9098 | 143.2851 | 23.4802
94 | 16 | 4 | 183.7202 | 45.6905 | 17.8775 | 6.4865 | 104.886 | 29.7806
95 | 16 | 5 | 498.9279 | 64.7322 | 42.9202 | 5.7918 | 158.3775 | 26.4184
96 | 16 | 6 | 476.2645 | 79.6313 | 8.7504 | 9.913 | 101.7679 | 12.475
97 | 17 | 1 | 565.6061 | 45.1504 | 30.7938 | 2.6726 | 94.686 | 30.3149
98 | 17 | 2 | 645.4224 | 26.8053 | 23.3233 | 8.0119 | 91.7399 | 20.0842
99 | 17 | 3 | 958.1981 | 34.4811 | 34.6463 | 8.2221 | 83.0051 | 31.8778
100 | 17 | 4 | 815.6708 | 62.962 | 6.6671 | 8.089 | 115.6403 | 40.1316
101 | 17 | 5 | 800.1954 | 61.3513 | 34.8944 | 8.9446 | 72.3047 | 14.6988
102 | 17 | 6 | 395.7783 | 70.8271 | 41.224 | 6.3415 | 146.9271 | 26.7001
103 | 18 | 1 | 593.5204 | 75.8122 | 28.7138 | 10.3035 | 53.5769 | 27.4241
104 | 18 | 2 | 255.4104 | 30.1923 | 38.264 | 10.2604 | 115.703 | 37.9161
105 | 18 | 3 | 310.9863 | 63.4248 | 35.1998 | 12.1225 | 44.1864 | 14.0516
106 | 18 | 4 | 651.3588 | 63.6225 | 24.0421 | 8.6958 | 96.238 | 26.2034
107 | 18 | 5 | 523.8603 | 71.5359 | 6.7569 | 6.6668 | 52.016 | 35.9323
108 | 18 | 6 | 879.3946 | 36.1334 | 32.4731 | 6.7634 | 116.953 | 30.1868
109 | 19 | 1 | 557.6293 | 21.449 | 25.3016 | 0.90309 | 116.2501 | 26.725
110 | 19 | 2 | 218.6627 | 38.8381 | 12.2185 | 1.5524 | 109.3155 | 20.3534
111 | 19 | 3 | 207.3636 | 46.2221 | 11.9348 | 0.54331 | 83.1437 | 26.2
112 | 19 | 4 | 664.1076 | 62.6934 | 24.7966 | 7.8963 | 82.3725 | 18.3099
113 | 19 | 5 | 60.6424 | 42.3246 | 16.1046 | 3.0289 | 67.0561 | 12.7882
114 | 19 | 6 | 123.8691 | 60.2388 | 19.0273 | 9.9295 | 91.6928 | 14.4235
115 | 20 | 1 | 201.8736 | 34.6802 | 17.8365 | 8.7478 | 115.1035 | 22.0153
116 | 20 | 2 | 248.4037 | 72.6119 | 41.3493 | 5.7811 | 99.1111 | 17.2217
117 | 20 | 3 | 73.3661 | 33.6859 | 12.9143 | 9.2784 | 134.3084 | 18.9787
118 | 20 | 4 | 297.8653 | 56.5276 | 30.9023 | 7.8093 | 48.9334 | 28.3524
119 | 20 | 5 | 519.6011 | 60.6215 | 27.1095 | 2.8209 | 67.6384 | 25.9334
120 | 20 | 6 | 841.0161 | 46.2368 | 7.3333 | 3.7469 | 39.5197 | 26.2243
121 | 21 | 1 | 429.7944 | 80.6695 | 14.6886 | 3.2536 | 63.1083 | 19.1821
122 | 21 | 2 | 505.589 | 66.1565 | 34.0088 | 15.0713 | 83.0491 | 13.7011
123 | 21 | 3 | 508.1111 | 37.8634 | 42.5998 | 8.1399 | 88.6784 | 23.0896
124 | 21 | 4 | 511.3768 | 40.4151 | 17.1607 | 3.1951 | 82.0446 | 12.1469
125 | 21 | 5 | 418.4767 | 64.314 | 35.6823 | 9.3752 | 76.6184 | 17.3467
126 | 21 | 6 | 299.4568 | 66.4134 | 23.6232 | 12.9368 | 132.7724 | 24.1555
127 | 22 | 1 | 749.7746 | 36.2205 | 45.2195 | 6.9007 | 78.9505 | 35.5968
128 | 22 | 2 | 729.7123 | 64.7704 | 61.1891 | 7.825 | 121.003 | 28.4298
129 | 22 | 3 | 915.8219 | 74.1601 | 45.6131 | 11.304 | 54.7928 | 26.7623
130 | 22 | 4 | 525.4278 | 84.4814 | 61.7353 | 11.7411 | 89.3845 | 22.7681
131 | 22 | 5 | 940.8132 | 46.4378 | 26.2776 | 8.0375 | 97.0892 | 24.0656
132 | 22 | 6 | 763.4489 | 16.2256 | 32.565 | 5.2112 | 117.3635 | 13.0306
133 | 23 | 1 | 489.4796 | 52.1432 | 41.2826 | 11.8385 | 158.679 | 23.7552
134 | 23 | 2 | 688.1489 | 51.8467 | 33.7761 | 11.4262 | 60.5687 | 17.9553
135 | 23 | 3 | 570.7185 | 41.5093 | 48.0975 | 12.8187 | 96.8886 | 24.2574
136 | 23 | 4 | 306.888 | 61.9816 | 32.2394 | 13.4568 | 130.8909 | 30.2437
137 | 23 | 5 | 626.001 | 49.2589 | 23.0512 | 6.8356 | 81.9149 | 20.359
138 | 23 | 6 | 470.6245 | 61.2432 | 47.4426 | 7.2036 | 77.9235 | 20.998
139 | 24 | 1 | 347.4726 | 8.9367 | 35.4997 | 7.4066 | 109.7997 | 29.8147
140 | 24 | 2 | 668.6286 | 70.2448 | 24.8752 | 2.5089 | 100.9253 | 24.831
141 | 24 | 3 | 325.5434 | 54.1596 | 14.4011 | 4.6769 | 144.1739 | 11.5831
142 | 24 | 4 | 297.024 | 43.0924 | 29.6004 | 8.9886 | 66.3817 | 19.973
143 | 24 | 5 | 365.224 | 19.3146 | 16.1611 | 3.6059 | 89.6816 | 30.9127
144 | 24 | 6 | 26.5579 | 14.0812 | 38.6127 | 3.9772 | 161.4477 | 11.1927
145 | 25 | 1 | 133.7963 | 28.311 | 10.1851 | 1.663 | 127.7646 | 31.6976
146 | 25 | 2 | 258.4842 | 25.698 | 1.9997 | 5.449 | 96.4294 | 14.9771
147 | 25 | 3 | 706.3887 | 24.7714 | 25.1784 | 2.0923 | 126.8222 | 12.8737
148 | 25 | 4 | 278.0088 | 43.9774 | 41.2479 | 4.1326 | 76.2248 | 16.9795
149 | 25 | 5 | 136.2034 | 22.8573 | 21.3534 | 1.5221 | 108.3547 | 14.9426
150 | 25 | 6 | 143.6181 | 18.4476 | 0.6534 | 5.4506 | 117.0454 | 16.9947
151 | 26 | 1 | 284.987 | 36.7458 | 17.7817 | 1.3876 | 90.4905 | 12.5189
152 | 26 | 2 | 90.9247 | 8.4222 | 36.2578 | 5.8748 | 112.3633 | 15.1348
153 | 26 | 3 | 21.9876 | 36.1904 | 21.1686 | 4.0558 | 107.2693 | 14.3329
154 | 26 | 4 | 48.0507 | 26.6447 | 19.4569 | 0.51698 | 101.5818 | 33.2931
155 | 26 | 5 | 330.5261 | 3.4751 | 27.9533 | 9.0727 | 66.3975 | 6.7084
156 | 26 | 6 | 6.0228 | 7.9593 | 7.5418 | 3.2893 | 129.6679 | 18.6404
157 | 27 | 1 | 317.2472 | 47.5825 | 13.5118 | 10.9288 | 105.5579 | 6.7878
158 | 27 | 2 | 430.2956 | 23.7765 | 1.5799 | 5.3603 | 181.132 | 27.2401
159 | 27 | 3 | 68.347 | 22.7613 | 30.5766 | 3.0542 | 98.2801 | 18.6075
160 | 27 | 4 | 592.3087 | 33.7428 | 19.4673 | 6.4547 | 159.9382 | 8.4329
161 | 27 | 5 | 376.8616 | 4.4659 | 11.6762 | 4.0782 | 106.9222 | 14.2857
162 | 27 | 6 | 220.2747 | 30.954 | 17.9642 | 3.2295 | 161.5253 | 12.4294
163 | 28 | 1 | 483.2561 | 45.4155 | 19.1218 | 9.8859 | 104.6282 | 11.3265
164 | 28 | 2 | 316.1414 | 11.3426 | 14.3413 | 6.0117 | 99.5179 | 26.8613
165 | 28 | 3 | 1205.4208 | 43.013 | 31.0649 | 6.5183 | 89.9201 | 33.3205
166 | 28 | 4 | 857.8855 | 21.0568 | 45.711 | 3.4132 | 80.7447 | 22.166
167 | 28 | 5 | 661.104 | 40.6362 | 14.9059 | 3.5678 | 127.858 | 16.3857
168 | 28 | 6 | 616.2249 | 36.3321 | 15.8083 | 10.2225 | 94.9328 | 31.687
169 | 29 | 1 | 742.1706 | 39.7548 | 9.3465 | 9.2086 | 117.0457 | 25.1781
170 | 29 | 2 | 965.3811 | 23.3204 | 27.6194 | 10.104 | 161.0687 | 34.5308
171 | 29 | 3 | 813.8336 | 48.6629 | 31.2098 | 9.7435 | 76.6622 | 11.721
172 | 29 | 4 | 674.9883 | 37.9802 | 13.2675 | 3.9721 | 138.036 | 22.5951
173 | 29 | 5 | 1135.3335 | 47.6282 | 21.3098 | 12.6136 | 143.2294 | 33.9756
174 | 29 | 6 | 769.2442 | 30.1538 | 24.8924 | 5.6234 | 100.0358 | 21.0844
175 | 30 | 1 | 490.7752 | 34.7056 | 15.1097 | 6.407 | 68.471 | 29.0476
176 | 30 | 2 | 706.7209 | 39.8632 | 28.0112 | 4.6659 | 131.8013 | 31.7369
177 | 30 | 3 | 561.494 | 42.9515 | 34.1174 | 6.3706 | 58.1555 | 22.9528
178 | 30 | 4 | 719.5336 | 44.3233 | 26.7486 | 11.4743 | 156.1693 | 28.2094
179 | 30 | 5 | 582.5141 | 66.0337 | 19.7381 | 5.8351 | 88.4848 | 37.474
180 | 30 | 6 | 450.3063 | 45.1703 | 26.9324 | 5.039 | 76.464 | 27.6668
181 | 31 | 1 | 658.3625 | 37.9979 | 12.7191 | 7.4559 | 67.9331 | 16.5522
182 | 31 | 2 | 167.9126 | 52.6089 | 24.5178 | 7.069 | 16.3612 | 18.9681
183 | 31 | 3 | 440.5144 | 15.7562 | 32.2146 | 11.6216 | 77.3697 | 13.9714
184 | 31 | 4 | 328.2481 | 71.8027 | 18.6042 | 11.4427 | 111.0241 | 18.2806
185 | 31 | 5 | 342.6291 | 62.6887 | 30.4488 | 7.876 | 112.4973 | 16.0643
186 | 31 | 6 | 531.8703 | 20.1787 | 16.3369 | 10.1221 | 17.5998 | 25.5162
187 | 32 | 1 | 313.9423 | 85.8922 | 35.318 | 8.0479 | 39.8596 | 10.4026
188 | 32 | 2 | 552.7039 | 49.4581 | 22.12 | 3.9365 | 45.7655 | 19.6709
189 | 32 | 3 | 409.7373 | 66.9255 | 21.5237 | 6.9301 | 48.9841 | 13.1437
190 | 32 | 4 | 63.5617 | 29.5656 | 21.7488 | 2.9939 | 88.88 | 17.6977
191 | 32 | 5 | 741.7105 | 44.7376 | 7.2635 | 3.8153 | 78.6655 | 11.0409
192 | 32 | 6 | 233.2383 | 28.3532 | 12.5205 | 6.3322 | 66.1887 | 24.2726
193 | 33 | 1 | 615.73 | 68.5635 | 35.222 | 1.9975 | 98.8764 | 7.4647
194 | 33 | 2 | 590.15 | 52.8522 | 22.1157 | 7.2077 | 94.6998 | 3.9502
195 | 33 | 3 | 501.8225 | 66.7677 | 17.3028 | 7.8778 | 97.7442 | 26.7788
196 | 33 | 4 | 601.2065 | 43.2246 | 21.448 | 8.9824 | 109.5546 | 7.5673
197 | 33 | 5 | 652.0306 | 45.8013 | 27.0994 | 12.108 | 55.5581 | 25.0818
198 | 33 | 6 | 842.3675 | 58.4127 | 25.2064 | 6.5963 | 57.3129 | 19.9776
199 | 34 | 1 | 968.96 | 83.7767 | 51.5016 | 10.1786 | 178.539 | 27.2496
200 | 34 | 2 | 641.7843 | 14.9526 | 46.3637 | 12.6745 | 82.396 | 23.4852
201 | 34 | 3 | 954.2904 | 87.2307 | 46.4713 | 6.0722 | 106.2668 | 26.7732
202 | 34 | 4 | 557.5452 | 68.9097 | 51.7644 | 5.4733 | 127.0935 | 19.0637
203 | 34 | 5 | 628.2206 | 85.3841 | 29.4271 | 6.8074 | 70.1894 | 20.6166
204 | 34 | 6 | 367.9356 | 57.3105 | 69.8713 | 9.2274 | 54.4719 | 20.1281
205 | 35 | 1 | 655.6495 | 51.0476 | 19.4019 | 4.2352 | 117.6188 | 18.8983
206 | 35 | 2 | 734.2013 | 74.9301 | 28.3815 | 14.0478 | 158.847 | 15.4012
207 | 35 | 3 | 704.6133 | 45.9987 | 4.938 | 14.4953 | 211.9453 | 22.4649
208 | 35 | 4 | 597.6369 | 77.8285 | 43.8657 | 17.651 | 150.1364 | 27.1444
209 | 35 | 5 | 666.8499 | 67.4312 | 38.9043 | 11.1174 | 144.8926 | 20.5539
210 | 35 | 6 | 638.767 | 47.018 | 40.2325 | 11.1709 | 118.5035 | 21.956
211 | 36 | 1 | 244.9942 | 28.0345 | 18.5481 | 8.2722 | 90.0997 | 23.1699
212 | 36 | 2 | 202.0305 | 26.6686 | 48.095 | 9.1053 | 138.2848 | 37.9267
213 | 36 | 3 | 236.1618 | 28.9459 | 12.1112 | 10.7324 | 121.9309 | 14.3303
214 | 36 | 4 | 307.5051 | 46.2995 | 32.7582 | 7.2106 | 166.5624 | 28.2064
215 | 36 | 5 | 365.3687 | 36.3397 | 15.9723 | 3.6845 | 152.1661 | 15.1962
216 | 36 | 6 | 731.8503 | 6.6424 | 13.6752 | 3.824 | 171.8173 | 22.3229

## Wind_config
capacity (MW) | Losses | density(Kg/m3) | efficiency | diameter(m) | Speed_rated | Entrance_Stage | Initial_Storage_Stage | Area | forced_unavailability | Variability (%) | Speed_in | Spped_out | Betz_limit

## Wind_expn
Modification | capacity (MW) | efficiency | number_turbines | forced_unavailability | historic_unavailability (%) | Losses

## SpeedIndices
Month | Block
1 | 1
2 | 1
3 | 1
4 | 1
5 | 1
6 | 1
7 | 1
8 | 1
9 | 1
10 | 1
11 | 1
12 | 1

## InflowWind
0 | stage | scenario | sogamoso | san_lorenzo | san_carlos | calderas | miel_i | amoya
1 | 1 | 1 | 320.2484 | 37.3276 | 20.6213 | 13.7321 | 135.9983 | 34.8382
2 | 1 | 2 | 260.7716 | 53.5116 | 17.2238 | 9.2721 | 195.7019 | 13.9173
3 | 1 | 3 | 137.6399 | 42.8873 | 15.2733 | 2.8185 | 158.5938 | 33.0516
4 | 1 | 4 | 673.825 | 45.4077 | 27.1363 | 12.2405 | 120.7835 | 22.3966
5 | 1 | 5 | 207.7038 | 37.8442 | 22.5863 | 11.0881 | 84.2602 | 28.0637
6 | 1 | 6 | 506.8529 | 44.7054 | 29.5303 | 6.9798 | 167.3439 | 23.7421
7 | 2 | 1 | 498.6719 | 44.1566 | 31.4247 | 3.3804 | 131.5762 | 25.1078
8 | 2 | 2 | 562.3695 | 28.7883 | 1.0525 | 15.3613 | 84.9372 | 34.1457
9 | 2 | 3 | 486.374 | 60.3156 | 27.5394 | 1.8662 | 139.7121 | 43.5051
10 | 2 | 4 | 284.3022 | 53.5629 | 4.677 | 10.8868 | 155.0286 | 43.0542
11 | 2 | 5 | 642.908 | 62.4807 | 36.4253 | 9.6906 | 122.3157 | 27.2986
12 | 2 | 6 | 915.9172 | 25.486 | 22.9406 | 12.6764 | 118.0753 | 28.1989
13 | 3 | 1 | 462.051 | 15.845 | 21.2396 | 10.3266 | 129.4977 | 21.1506
14 | 3 | 2 | 836.0575 | 41.1208 | 40.9645 | 10.5019 | 182.0747 | 30.3433
15 | 3 | 3 | 478.9329 | 60.55 | 39.9701 | 6.3138 | 253.2306 | 28.4765
16 | 3 | 4 | 105.3473 | 30.1374 | 34.468 | 5.9734 | 99.9027 | 32.0431
17 | 3 | 5 | 430.1876 | 63.4418 | 26.3026 | 8.3852 | 144.8189 | 31.1288
18 | 3 | 6 | 205.9365 | 52.1695 | 12.8235 | 7.2 | 187.6368 | 19.9205
19 | 4 | 1 | 995.0448 | 51.7275 | 31.869 | 9.3364 | 98.5567 | 26.4022
20 | 4 | 2 | 651.7354 | 45.8212 | 71.1962 | 9.9261 | 135.3167 | 38.0519
21 | 4 | 3 | 636.7741 | 74.6258 | 44.029 | 9.819 | 126.1559 | 37.1313
22 | 4 | 4 | 1264.1757 | 33.5467 | 51.1027 | 4.131 | 124.5872 | 32.8699
23 | 4 | 5 | 757.875 | 49.2862 | 9.6101 | 9.768 | 119.7217 | 24.2292
24 | 4 | 6 | 460.6086 | 102.7899 | 65.9498 | 9.6265 | 108.9415 | 24.9434
25 | 5 | 1 | 511.9332 | 79.1461 | 41.7225 | 4.1493 | 140.1001 | 22.5636
26 | 5 | 2 | 471.1055 | 39.7412 | 57.4931 | 18.2712 | 133.9922 | 21.3516
27 | 5 | 3 | 668.8415 | 73.1451 | 39.1338 | 15.7152 | 84.7028 | 38.613
28 | 5 | 4 | 692.4731 | 61.4578 | 48.2811 | 17.5688 | 101.7919 | 25.5368
29 | 5 | 5 | 926.7817 | 39.0833 | 31.3703 | 16.1984 | 95.163 | 25.6816
30 | 5 | 6 | 548.3858 | 70.944 | 55.3367 | 11.7456 | 170.2697 | 22.7986
31 | 6 | 1 | 661.1702 | 84.8357 | 39.5822 | 11.63 | 93.6936 | 24.3336
32 | 6 | 2 | 585.2375 | 83.052 | 26.439 | 12.8588 | 192.7262 | 40.6394
33 | 6 | 3 | 466.5106 | 56.2694 | 34.7475 | 11.314 | 79.7533 | 25.1074
34 | 6 | 4 | 789.2396 | 65.8405 | 31.5696 | 8.0036 | 189.0927 | 28.7529
35 | 6 | 5 | 255.6358 | 86.6382 | 34.7949 | 4.7159 | 158.4896 | 29.0778
36 | 6 | 6 | 358.4046 | 62.1984 | 29.8746 | 10.4302 | 137.2176 | 24.0389
37 | 7 | 1 | 98.6934 | 65.7626 | 15.6397 | 10.8583 | 114.4973 | 36.6035
38 | 7 | 2 | 624.2988 | 75.6158 | 5.5438 | 2.5624 | 108.8947 | 27.7898
39 | 7 | 3 | 413.7771 | 58.2855 | 42.6466 | 12.4452 | 68.6629 | 40.0302
40 | 7 | 4 | 524.5984 | 81.3149 | 10.4816 | 3.8569 | 87.615 | 32.9879
41 | 7 | 5 | 375.1894 | 77.8979 | 10.6195 | 4.9131 | 85.7072 | 27.9952
42 | 7 | 6 | 431.6485 | 59.801 | 4.2521 | 11.6696 | 129.8384 | 36.4155
43 | 8 | 1 | 872.6551 | 39.1863 | 41.2279 | 14.9993 | 70.8659 | 23.8098
44 | 8 | 2 | 439.2487 | 72.0769 | 12.9209 | 5.2966 | 53.7558 | 27.6771
45 | 8 | 3 | 723.6507 | 100.6576 | 17.9746 | 5.5742 | 70.5328 | 33.5602
46 | 8 | 4 | 400.9643 | 47.0814 | 20.3106 | 13.8528 | 98.5239 | 36.6856
47 | 8 | 5 | 446.315 | 78.4495 | 27.1114 | 2.3339 | 60.1215 | 26.5341
48 | 8 | 6 | 561.98 | 73.7991 | 30.2587 | 8.0082 | 62.8995 | 19.0521
49 | 9 | 1 | 356.7071 | 64.905 | 24.964 | 3.7724 | 54.9733 | 25.4218
50 | 9 | 2 | 223.8714 | 63.7269 | 24.1367 | 6.7254 | 129.5113 | 21.464
51 | 9 | 3 | 787.3312 | 105.2801 | 29.5431 | 8.2929 | 186.5866 | 29.4206
52 | 9 | 4 | 613.8149 | 53.5929 | 20.9948 | 6.5259 | 77.5444 | 16.0539
53 | 9 | 5 | 381.3898 | 81.9613 | 26.0833 | 6.1184 | 48.9835 | 26.7575
54 | 9 | 6 | 660.8587 | 95.9962 | 20.5775 | 8.1994 | 81.1498 | 24.3487
55 | 10 | 1 | 803.0846 | 49.9565 | 16.282 | 10.7181 | 117.9367 | 24.8982
56 | 10 | 2 | 704.1085 | 65.5634 | 45.6431 | 6.6667 | 86.3084 | 37.0204
57 | 10 | 3 | 617.6802 | 85.0361 | 56.8086 | 11.4189 | 116.7961 | 22.263
58 | 10 | 4 | 486.7247 | 67.4366 | 57.0858 | 15.0272 | 102.5408 | 13.0876
59 | 10 | 5 | 810.0492 | 14.7275 | 49.3706 | 10.1765 | 182.923 | 24.5432
60 | 10 | 6 | 1110.6494 | 107.8818 | 53.4755 | 4.3195 | 155.2787 | 35.9506
61 | 11 | 1 | 761.2763 | 86.4084 | 49.2997 | 10.9756 | 144.854 | 31.1804
62 | 11 | 2 | 857.9672 | 82.4234 | 47.5084 | 9.5901 | 164.6398 | 33.5736
63 | 11 | 3 | 479.5065 | 66.3467 | 29.164 | 8.8627 | 152.2965 | 19.1262
64 | 11 | 4 | 530.2301 | 75.7691 | 49.2666 | 5.6737 | 198.7477 | 41.279
65 | 11 | 5 | 785.6689 | 58.6555 | 16.4797 | 15.9606 | 148.2641 | 29.8811
66 | 11 | 6 | 713.6191 | 61.126 | 42.0667 | 9.9323 | 156.5907 | 18.8922
67 | 12 | 1 | 214.7987 | 55.1281 | 3.6098 | 9.5121 | 80.3217 | 27.4007
68 | 12 | 2 | 694.6129 | 55.5361 | 30.8746 | 7.5018 | 123.3886 | 23.2813
69 | 12 | 3 | 395.0011 | 48.4279 | 8.959 | 3.9079 | 225.5934 | 17.9152
70 | 12 | 4 | 728.6902 | 20.176 | 41.9514 | 5.8715 | 194.5483 | 19.8011
71 | 12 | 5 | 234.1079 | 34.5463 | 25.8612 | 8.4212 | 186.6836 | 29.677
72 | 12 | 6 | 202.629 | 33.8684 | 24.9787 | 3.1324 | 128.7275 | 22.6107
73 | 13 | 1 | 463.0537 | 26.4012 | 0.020972 | 5.1063 | 122.5865 | 22.4145
74 | 13 | 2 | 276.3327 | 23.7599 | 23.5517 | 4.1606 | 106.7844 | 15.6923
75 | 13 | 3 | 246.6826 | 38.419 | 8.314 | 3.356 | 135.7306 | 26.3515
76 | 13 | 4 | 203.3041 | 36.4731 | 15.0052 | 3.7302 | 63.7053 | 2.2429
77 | 13 | 5 | 400.6102 | 47.6237 | 32.5747 | 4.7394 | 171.4871 | 21.3599
78 | 13 | 6 | 293.6637 | 52.3366 | 7.5114 | 0.80429 | 136.2236 | 4.3466
79 | 14 | 1 | 84.8781 | 26.6327 | 7.9402 | 0.84112 | 104.9287 | 23.0004
80 | 14 | 2 | 333.3064 | 16.7919 | 5.7489 | 1.7134 | 140.9449 | 25.5183
81 | 14 | 3 | 201.5824 | 30.5494 | 3.6591 | 10.4307 | 98.691 | 15.2456
82 | 14 | 4 | 537.971 | 37.4412 | 2.7949 | 0.66518 | 67.0308 | 20.2043
83 | 14 | 5 | 276.7258 | 21.3742 | 6.8259 | 6.5776 | 116.3113 | 16.4808
84 | 14 | 6 | 489.1524 | 29.8914 | 6.4946 | 4.4736 | 61.6437 | 22.3598
85 | 15 | 1 | 177.7441 | 52.989 | 11.4304 | 9.7563 | 104.518 | 9.5815
86 | 15 | 2 | 296.2747 | 17.2327 | 30.3224 | 8.6488 | 126.2994 | 26.7963
87 | 15 | 3 | 324.2537 | 58.6597 | 15.0442 | 4.3789 | 116.1454 | 23.4224
88 | 15 | 4 | 364.0607 | 47.3581 | 9.8013 | 5.4488 | 114.3244 | 10.2469
89 | 15 | 5 | 293.297 | 35.1636 | 22.7356 | 3.4143 | 35.0201 | 21.2923
90 | 15 | 6 | 423.8743 | 33.7957 | 13.4094 | 5.4488 | 122.0845 | 17.791
91 | 16 | 1 | 226.8124 | 55.3322 | 37.5154 | 9.323 | 75.7551 | 27.6731
92 | 16 | 2 | 314.4625 | 35.0365 | 3.6715 | 3.546 | 138.2155 | 18.2025
93 | 16 | 3 | 310.545 | 28.5764 | 31.6042 | 13.9098 | 143.2851 | 23.4802
94 | 16 | 4 | 183.7202 | 45.6905 | 17.8775 | 6.4865 | 104.886 | 29.7806
95 | 16 | 5 | 498.9279 | 64.7322 | 42.9202 | 5.7918 | 158.3775 | 26.4184
96 | 16 | 6 | 476.2645 | 79.6313 | 8.7504 | 9.913 | 101.7679 | 12.475
97 | 17 | 1 | 565.6061 | 45.1504 | 30.7938 | 2.6726 | 94.686 | 30.3149
98 | 17 | 2 | 645.4224 | 26.8053 | 23.3233 | 8.0119 | 91.7399 | 20.0842
99 | 17 | 3 | 958.1981 | 34.4811 | 34.6463 | 8.2221 | 83.0051 | 31.8778
100 | 17 | 4 | 815.6708 | 62.962 | 6.6671 | 8.089 | 115.6403 | 40.1316
101 | 17 | 5 | 800.1954 | 61.3513 | 34.8944 | 8.9446 | 72.3047 | 14.6988
102 | 17 | 6 | 395.7783 | 70.8271 | 41.224 | 6.3415 | 146.9271 | 26.7001
103 | 18 | 1 | 593.5204 | 75.8122 | 28.7138 | 10.3035 | 53.5769 | 27.4241
104 | 18 | 2 | 255.4104 | 30.1923 | 38.264 | 10.2604 | 115.703 | 37.9161
105 | 18 | 3 | 310.9863 | 63.4248 | 35.1998 | 12.1225 | 44.1864 | 14.0516
106 | 18 | 4 | 651.3588 | 63.6225 | 24.0421 | 8.6958 | 96.238 | 26.2034
107 | 18 | 5 | 523.8603 | 71.5359 | 6.7569 | 6.6668 | 52.016 | 35.9323
108 | 18 | 6 | 879.3946 | 36.1334 | 32.4731 | 6.7634 | 116.953 | 30.1868
109 | 19 | 1 | 557.6293 | 21.449 | 25.3016 | 0.90309 | 116.2501 | 26.725
110 | 19 | 2 | 218.6627 | 38.8381 | 12.2185 | 1.5524 | 109.3155 | 20.3534
111 | 19 | 3 | 207.3636 | 46.2221 | 11.9348 | 0.54331 | 83.1437 | 26.2
112 | 19 | 4 | 664.1076 | 62.6934 | 24.7966 | 7.8963 | 82.3725 | 18.3099
113 | 19 | 5 | 60.6424 | 42.3246 | 16.1046 | 3.0289 | 67.0561 | 12.7882
114 | 19 | 6 | 123.8691 | 60.2388 | 19.0273 | 9.9295 | 91.6928 | 14.4235
115 | 20 | 1 | 201.8736 | 34.6802 | 17.8365 | 8.7478 | 115.1035 | 22.0153
116 | 20 | 2 | 248.4037 | 72.6119 | 41.3493 | 5.7811 | 99.1111 | 17.2217
117 | 20 | 3 | 73.3661 | 33.6859 | 12.9143 | 9.2784 | 134.3084 | 18.9787
118 | 20 | 4 | 297.8653 | 56.5276 | 30.9023 | 7.8093 | 48.9334 | 28.3524
119 | 20 | 5 | 519.6011 | 60.6215 | 27.1095 | 2.8209 | 67.6384 | 25.9334
120 | 20 | 6 | 841.0161 | 46.2368 | 7.3333 | 3.7469 | 39.5197 | 26.2243
121 | 21 | 1 | 429.7944 | 80.6695 | 14.6886 | 3.2536 | 63.1083 | 19.1821
122 | 21 | 2 | 505.589 | 66.1565 | 34.0088 | 15.0713 | 83.0491 | 13.7011
123 | 21 | 3 | 508.1111 | 37.8634 | 42.5998 | 8.1399 | 88.6784 | 23.0896
124 | 21 | 4 | 511.3768 | 40.4151 | 17.1607 | 3.1951 | 82.0446 | 12.1469
125 | 21 | 5 | 418.4767 | 64.314 | 35.6823 | 9.3752 | 76.6184 | 17.3467
126 | 21 | 6 | 299.4568 | 66.4134 | 23.6232 | 12.9368 | 132.7724 | 24.1555
127 | 22 | 1 | 749.7746 | 36.2205 | 45.2195 | 6.9007 | 78.9505 | 35.5968
128 | 22 | 2 | 729.7123 | 64.7704 | 61.1891 | 7.825 | 121.003 | 28.4298
129 | 22 | 3 | 915.8219 | 74.1601 | 45.6131 | 11.304 | 54.7928 | 26.7623
130 | 22 | 4 | 525.4278 | 84.4814 | 61.7353 | 11.7411 | 89.3845 | 22.7681
131 | 22 | 5 | 940.8132 | 46.4378 | 26.2776 | 8.0375 | 97.0892 | 24.0656
132 | 22 | 6 | 763.4489 | 16.2256 | 32.565 | 5.2112 | 117.3635 | 13.0306
133 | 23 | 1 | 489.4796 | 52.1432 | 41.2826 | 11.8385 | 158.679 | 23.7552
134 | 23 | 2 | 688.1489 | 51.8467 | 33.7761 | 11.4262 | 60.5687 | 17.9553
135 | 23 | 3 | 570.7185 | 41.5093 | 48.0975 | 12.8187 | 96.8886 | 24.2574
136 | 23 | 4 | 306.888 | 61.9816 | 32.2394 | 13.4568 | 130.8909 | 30.2437
137 | 23 | 5 | 626.001 | 49.2589 | 23.0512 | 6.8356 | 81.9149 | 20.359
138 | 23 | 6 | 470.6245 | 61.2432 | 47.4426 | 7.2036 | 77.9235 | 20.998
139 | 24 | 1 | 347.4726 | 8.9367 | 35.4997 | 7.4066 | 109.7997 | 29.8147
140 | 24 | 2 | 668.6286 | 70.2448 | 24.8752 | 2.5089 | 100.9253 | 24.831
141 | 24 | 3 | 325.5434 | 54.1596 | 14.4011 | 4.6769 | 144.1739 | 11.5831
142 | 24 | 4 | 297.024 | 43.0924 | 29.6004 | 8.9886 | 66.3817 | 19.973
143 | 24 | 5 | 365.224 | 19.3146 | 16.1611 | 3.6059 | 89.6816 | 30.9127
144 | 24 | 6 | 26.5579 | 14.0812 | 38.6127 | 3.9772 | 161.4477 | 11.1927
145 | 25 | 1 | 133.7963 | 28.311 | 10.1851 | 1.663 | 127.7646 | 31.6976
146 | 25 | 2 | 258.4842 | 25.698 | 1.9997 | 5.449 | 96.4294 | 14.9771
147 | 25 | 3 | 706.3887 | 24.7714 | 25.1784 | 2.0923 | 126.8222 | 12.8737
148 | 25 | 4 | 278.0088 | 43.9774 | 41.2479 | 4.1326 | 76.2248 | 16.9795
149 | 25 | 5 | 136.2034 | 22.8573 | 21.3534 | 1.5221 | 108.3547 | 14.9426
150 | 25 | 6 | 143.6181 | 18.4476 | 0.6534 | 5.4506 | 117.0454 | 16.9947
151 | 26 | 1 | 284.987 | 36.7458 | 17.7817 | 1.3876 | 90.4905 | 12.5189
152 | 26 | 2 | 90.9247 | 8.4222 | 36.2578 | 5.8748 | 112.3633 | 15.1348
153 | 26 | 3 | 21.9876 | 36.1904 | 21.1686 | 4.0558 | 107.2693 | 14.3329
154 | 26 | 4 | 48.0507 | 26.6447 | 19.4569 | 0.51698 | 101.5818 | 33.2931
155 | 26 | 5 | 330.5261 | 3.4751 | 27.9533 | 9.0727 | 66.3975 | 6.7084
156 | 26 | 6 | 6.0228 | 7.9593 | 7.5418 | 3.2893 | 129.6679 | 18.6404
157 | 27 | 1 | 317.2472 | 47.5825 | 13.5118 | 10.9288 | 105.5579 | 6.7878
158 | 27 | 2 | 430.2956 | 23.7765 | 1.5799 | 5.3603 | 181.132 | 27.2401
159 | 27 | 3 | 68.347 | 22.7613 | 30.5766 | 3.0542 | 98.2801 | 18.6075
160 | 27 | 4 | 592.3087 | 33.7428 | 19.4673 | 6.4547 | 159.9382 | 8.4329
161 | 27 | 5 | 376.8616 | 4.4659 | 11.6762 | 4.0782 | 106.9222 | 14.2857
162 | 27 | 6 | 220.2747 | 30.954 | 17.9642 | 3.2295 | 161.5253 | 12.4294
163 | 28 | 1 | 483.2561 | 45.4155 | 19.1218 | 9.8859 | 104.6282 | 11.3265
164 | 28 | 2 | 316.1414 | 11.3426 | 14.3413 | 6.0117 | 99.5179 | 26.8613
165 | 28 | 3 | 1205.4208 | 43.013 | 31.0649 | 6.5183 | 89.9201 | 33.3205
166 | 28 | 4 | 857.8855 | 21.0568 | 45.711 | 3.4132 | 80.7447 | 22.166
167 | 28 | 5 | 661.104 | 40.6362 | 14.9059 | 3.5678 | 127.858 | 16.3857
168 | 28 | 6 | 616.2249 | 36.3321 | 15.8083 | 10.2225 | 94.9328 | 31.687
169 | 29 | 1 | 742.1706 | 39.7548 | 9.3465 | 9.2086 | 117.0457 | 25.1781
170 | 29 | 2 | 965.3811 | 23.3204 | 27.6194 | 10.104 | 161.0687 | 34.5308
171 | 29 | 3 | 813.8336 | 48.6629 | 31.2098 | 9.7435 | 76.6622 | 11.721
172 | 29 | 4 | 674.9883 | 37.9802 | 13.2675 | 3.9721 | 138.036 | 22.5951
173 | 29 | 5 | 1135.3335 | 47.6282 | 21.3098 | 12.6136 | 143.2294 | 33.9756
174 | 29 | 6 | 769.2442 | 30.1538 | 24.8924 | 5.6234 | 100.0358 | 21.0844
175 | 30 | 1 | 490.7752 | 34.7056 | 15.1097 | 6.407 | 68.471 | 29.0476
176 | 30 | 2 | 706.7209 | 39.8632 | 28.0112 | 4.6659 | 131.8013 | 31.7369
177 | 30 | 3 | 561.494 | 42.9515 | 34.1174 | 6.3706 | 58.1555 | 22.9528
178 | 30 | 4 | 719.5336 | 44.3233 | 26.7486 | 11.4743 | 156.1693 | 28.2094
179 | 30 | 5 | 582.5141 | 66.0337 | 19.7381 | 5.8351 | 88.4848 | 37.474
180 | 30 | 6 | 450.3063 | 45.1703 | 26.9324 | 5.039 | 76.464 | 27.6668
181 | 31 | 1 | 658.3625 | 37.9979 | 12.7191 | 7.4559 | 67.9331 | 16.5522
182 | 31 | 2 | 167.9126 | 52.6089 | 24.5178 | 7.069 | 16.3612 | 18.9681
183 | 31 | 3 | 440.5144 | 15.7562 | 32.2146 | 11.6216 | 77.3697 | 13.9714
184 | 31 | 4 | 328.2481 | 71.8027 | 18.6042 | 11.4427 | 111.0241 | 18.2806
185 | 31 | 5 | 342.6291 | 62.6887 | 30.4488 | 7.876 | 112.4973 | 16.0643
186 | 31 | 6 | 531.8703 | 20.1787 | 16.3369 | 10.1221 | 17.5998 | 25.5162
187 | 32 | 1 | 313.9423 | 85.8922 | 35.318 | 8.0479 | 39.8596 | 10.4026
188 | 32 | 2 | 552.7039 | 49.4581 | 22.12 | 3.9365 | 45.7655 | 19.6709
189 | 32 | 3 | 409.7373 | 66.9255 | 21.5237 | 6.9301 | 48.9841 | 13.1437
190 | 32 | 4 | 63.5617 | 29.5656 | 21.7488 | 2.9939 | 88.88 | 17.6977
191 | 32 | 5 | 741.7105 | 44.7376 | 7.2635 | 3.8153 | 78.6655 | 11.0409
192 | 32 | 6 | 233.2383 | 28.3532 | 12.5205 | 6.3322 | 66.1887 | 24.2726
193 | 33 | 1 | 615.73 | 68.5635 | 35.222 | 1.9975 | 98.8764 | 7.4647
194 | 33 | 2 | 590.15 | 52.8522 | 22.1157 | 7.2077 | 94.6998 | 3.9502
195 | 33 | 3 | 501.8225 | 66.7677 | 17.3028 | 7.8778 | 97.7442 | 26.7788
196 | 33 | 4 | 601.2065 | 43.2246 | 21.448 | 8.9824 | 109.5546 | 7.5673
197 | 33 | 5 | 652.0306 | 45.8013 | 27.0994 | 12.108 | 55.5581 | 25.0818
198 | 33 | 6 | 842.3675 | 58.4127 | 25.2064 | 6.5963 | 57.3129 | 19.9776
199 | 34 | 1 | 968.96 | 83.7767 | 51.5016 | 10.1786 | 178.539 | 27.2496
200 | 34 | 2 | 641.7843 | 14.9526 | 46.3637 | 12.6745 | 82.396 | 23.4852
201 | 34 | 3 | 954.2904 | 87.2307 | 46.4713 | 6.0722 | 106.2668 | 26.7732
202 | 34 | 4 | 557.5452 | 68.9097 | 51.7644 | 5.4733 | 127.0935 | 19.0637
203 | 34 | 5 | 628.2206 | 85.3841 | 29.4271 | 6.8074 | 70.1894 | 20.6166
204 | 34 | 6 | 367.9356 | 57.3105 | 69.8713 | 9.2274 | 54.4719 | 20.1281
205 | 35 | 1 | 655.6495 | 51.0476 | 19.4019 | 4.2352 | 117.6188 | 18.8983
206 | 35 | 2 | 734.2013 | 74.9301 | 28.3815 | 14.0478 | 158.847 | 15.4012
207 | 35 | 3 | 704.6133 | 45.9987 | 4.938 | 14.4953 | 211.9453 | 22.4649
208 | 35 | 4 | 597.6369 | 77.8285 | 43.8657 | 17.651 | 150.1364 | 27.1444
209 | 35 | 5 | 666.8499 | 67.4312 | 38.9043 | 11.1174 | 144.8926 | 20.5539
210 | 35 | 6 | 638.767 | 47.018 | 40.2325 | 11.1709 | 118.5035 | 21.956
211 | 36 | 1 | 244.9942 | 28.0345 | 18.5481 | 8.2722 | 90.0997 | 23.1699
212 | 36 | 2 | 202.0305 | 26.6686 | 48.095 | 9.1053 | 138.2848 | 37.9267
213 | 36 | 3 | 236.1618 | 28.9459 | 12.1112 | 10.7324 | 121.9309 | 14.3303
214 | 36 | 4 | 307.5051 | 46.2995 | 32.7582 | 7.2106 | 166.5624 | 28.2064
215 | 36 | 5 | 365.3687 | 36.3397 | 15.9723 | 3.6845 | 152.1661 | 15.1962
216 | 36 | 6 | 731.8503 | 6.6424 | 13.6752 | 3.824 | 171.8173 | 22.3229

## Wind_M2_config
capacity (MW) | Losses | wSpeed_min | wSpeed_max | speed_resolution | Measuring height | hub height | adjustment | density(Kg/m3) | Distance(m) | diameter(m) | Entrance_Stage | Area | SpeedDataMinutes | rows

## InflowWind_M2
0 | stage | scenario | sogamoso | san_lorenzo | san_carlos | calderas | miel_i | amoya
1 | 1 | 1 | 320.2484 | 37.3276 | 20.6213 | 13.7321 | 135.9983 | 34.8382
2 | 1 | 2 | 260.7716 | 53.5116 | 17.2238 | 9.2721 | 195.7019 | 13.9173
3 | 1 | 3 | 137.6399 | 42.8873 | 15.2733 | 2.8185 | 158.5938 | 33.0516
4 | 1 | 4 | 673.825 | 45.4077 | 27.1363 | 12.2405 | 120.7835 | 22.3966
5 | 1 | 5 | 207.7038 | 37.8442 | 22.5863 | 11.0881 | 84.2602 | 28.0637
6 | 1 | 6 | 506.8529 | 44.7054 | 29.5303 | 6.9798 | 167.3439 | 23.7421
7 | 2 | 1 | 498.6719 | 44.1566 | 31.4247 | 3.3804 | 131.5762 | 25.1078
8 | 2 | 2 | 562.3695 | 28.7883 | 1.0525 | 15.3613 | 84.9372 | 34.1457
9 | 2 | 3 | 486.374 | 60.3156 | 27.5394 | 1.8662 | 139.7121 | 43.5051
10 | 2 | 4 | 284.3022 | 53.5629 | 4.677 | 10.8868 | 155.0286 | 43.0542
11 | 2 | 5 | 642.908 | 62.4807 | 36.4253 | 9.6906 | 122.3157 | 27.2986
12 | 2 | 6 | 915.9172 | 25.486 | 22.9406 | 12.6764 | 118.0753 | 28.1989
13 | 3 | 1 | 462.051 | 15.845 | 21.2396 | 10.3266 | 129.4977 | 21.1506
14 | 3 | 2 | 836.0575 | 41.1208 | 40.9645 | 10.5019 | 182.0747 | 30.3433
15 | 3 | 3 | 478.9329 | 60.55 | 39.9701 | 6.3138 | 253.2306 | 28.4765
16 | 3 | 4 | 105.3473 | 30.1374 | 34.468 | 5.9734 | 99.9027 | 32.0431
17 | 3 | 5 | 430.1876 | 63.4418 | 26.3026 | 8.3852 | 144.8189 | 31.1288
18 | 3 | 6 | 205.9365 | 52.1695 | 12.8235 | 7.2 | 187.6368 | 19.9205
19 | 4 | 1 | 995.0448 | 51.7275 | 31.869 | 9.3364 | 98.5567 | 26.4022
20 | 4 | 2 | 651.7354 | 45.8212 | 71.1962 | 9.9261 | 135.3167 | 38.0519
21 | 4 | 3 | 636.7741 | 74.6258 | 44.029 | 9.819 | 126.1559 | 37.1313
22 | 4 | 4 | 1264.1757 | 33.5467 | 51.1027 | 4.131 | 124.5872 | 32.8699
23 | 4 | 5 | 757.875 | 49.2862 | 9.6101 | 9.768 | 119.7217 | 24.2292
24 | 4 | 6 | 460.6086 | 102.7899 | 65.9498 | 9.6265 | 108.9415 | 24.9434
25 | 5 | 1 | 511.9332 | 79.1461 | 41.7225 | 4.1493 | 140.1001 | 22.5636
26 | 5 | 2 | 471.1055 | 39.7412 | 57.4931 | 18.2712 | 133.9922 | 21.3516
27 | 5 | 3 | 668.8415 | 73.1451 | 39.1338 | 15.7152 | 84.7028 | 38.613
28 | 5 | 4 | 692.4731 | 61.4578 | 48.2811 | 17.5688 | 101.7919 | 25.5368
29 | 5 | 5 | 926.7817 | 39.0833 | 31.3703 | 16.1984 | 95.163 | 25.6816
30 | 5 | 6 | 548.3858 | 70.944 | 55.3367 | 11.7456 | 170.2697 | 22.7986
31 | 6 | 1 | 661.1702 | 84.8357 | 39.5822 | 11.63 | 93.6936 | 24.3336
32 | 6 | 2 | 585.2375 | 83.052 | 26.439 | 12.8588 | 192.7262 | 40.6394
33 | 6 | 3 | 466.5106 | 56.2694 | 34.7475 | 11.314 | 79.7533 | 25.1074
34 | 6 | 4 | 789.2396 | 65.8405 | 31.5696 | 8.0036 | 189.0927 | 28.7529
35 | 6 | 5 | 255.6358 | 86.6382 | 34.7949 | 4.7159 | 158.4896 | 29.0778
36 | 6 | 6 | 358.4046 | 62.1984 | 29.8746 | 10.4302 | 137.2176 | 24.0389
37 | 7 | 1 | 98.6934 | 65.7626 | 15.6397 | 10.8583 | 114.4973 | 36.6035
38 | 7 | 2 | 624.2988 | 75.6158 | 5.5438 | 2.5624 | 108.8947 | 27.7898
39 | 7 | 3 | 413.7771 | 58.2855 | 42.6466 | 12.4452 | 68.6629 | 40.0302
40 | 7 | 4 | 524.5984 | 81.3149 | 10.4816 | 3.8569 | 87.615 | 32.9879
41 | 7 | 5 | 375.1894 | 77.8979 | 10.6195 | 4.9131 | 85.7072 | 27.9952
42 | 7 | 6 | 431.6485 | 59.801 | 4.2521 | 11.6696 | 129.8384 | 36.4155
43 | 8 | 1 | 872.6551 | 39.1863 | 41.2279 | 14.9993 | 70.8659 | 23.8098
44 | 8 | 2 | 439.2487 | 72.0769 | 12.9209 | 5.2966 | 53.7558 | 27.6771
45 | 8 | 3 | 723.6507 | 100.6576 | 17.9746 | 5.5742 | 70.5328 | 33.5602
46 | 8 | 4 | 400.9643 | 47.0814 | 20.3106 | 13.8528 | 98.5239 | 36.6856
47 | 8 | 5 | 446.315 | 78.4495 | 27.1114 | 2.3339 | 60.1215 | 26.5341
48 | 8 | 6 | 561.98 | 73.7991 | 30.2587 | 8.0082 | 62.8995 | 19.0521
49 | 9 | 1 | 356.7071 | 64.905 | 24.964 | 3.7724 | 54.9733 | 25.4218
50 | 9 | 2 | 223.8714 | 63.7269 | 24.1367 | 6.7254 | 129.5113 | 21.464
51 | 9 | 3 | 787.3312 | 105.2801 | 29.5431 | 8.2929 | 186.5866 | 29.4206
52 | 9 | 4 | 613.8149 | 53.5929 | 20.9948 | 6.5259 | 77.5444 | 16.0539
53 | 9 | 5 | 381.3898 | 81.9613 | 26.0833 | 6.1184 | 48.9835 | 26.7575
54 | 9 | 6 | 660.8587 | 95.9962 | 20.5775 | 8.1994 | 81.1498 | 24.3487
55 | 10 | 1 | 803.0846 | 49.9565 | 16.282 | 10.7181 | 117.9367 | 24.8982
56 | 10 | 2 | 704.1085 | 65.5634 | 45.6431 | 6.6667 | 86.3084 | 37.0204
57 | 10 | 3 | 617.6802 | 85.0361 | 56.8086 | 11.4189 | 116.7961 | 22.263
58 | 10 | 4 | 486.7247 | 67.4366 | 57.0858 | 15.0272 | 102.5408 | 13.0876
59 | 10 | 5 | 810.0492 | 14.7275 | 49.3706 | 10.1765 | 182.923 | 24.5432
60 | 10 | 6 | 1110.6494 | 107.8818 | 53.4755 | 4.3195 | 155.2787 | 35.9506
61 | 11 | 1 | 761.2763 | 86.4084 | 49.2997 | 10.9756 | 144.854 | 31.1804
62 | 11 | 2 | 857.9672 | 82.4234 | 47.5084 | 9.5901 | 164.6398 | 33.5736
63 | 11 | 3 | 479.5065 | 66.3467 | 29.164 | 8.8627 | 152.2965 | 19.1262
64 | 11 | 4 | 530.2301 | 75.7691 | 49.2666 | 5.6737 | 198.7477 | 41.279
65 | 11 | 5 | 785.6689 | 58.6555 | 16.4797 | 15.9606 | 148.2641 | 29.8811
66 | 11 | 6 | 713.6191 | 61.126 | 42.0667 | 9.9323 | 156.5907 | 18.8922
67 | 12 | 1 | 214.7987 | 55.1281 | 3.6098 | 9.5121 | 80.3217 | 27.4007
68 | 12 | 2 | 694.6129 | 55.5361 | 30.8746 | 7.5018 | 123.3886 | 23.2813
69 | 12 | 3 | 395.0011 | 48.4279 | 8.959 | 3.9079 | 225.5934 | 17.9152
70 | 12 | 4 | 728.6902 | 20.176 | 41.9514 | 5.8715 | 194.5483 | 19.8011
71 | 12 | 5 | 234.1079 | 34.5463 | 25.8612 | 8.4212 | 186.6836 | 29.677
72 | 12 | 6 | 202.629 | 33.8684 | 24.9787 | 3.1324 | 128.7275 | 22.6107
73 | 13 | 1 | 463.0537 | 26.4012 | 0.020972 | 5.1063 | 122.5865 | 22.4145
74 | 13 | 2 | 276.3327 | 23.7599 | 23.5517 | 4.1606 | 106.7844 | 15.6923
75 | 13 | 3 | 246.6826 | 38.419 | 8.314 | 3.356 | 135.7306 | 26.3515
76 | 13 | 4 | 203.3041 | 36.4731 | 15.0052 | 3.7302 | 63.7053 | 2.2429
77 | 13 | 5 | 400.6102 | 47.6237 | 32.5747 | 4.7394 | 171.4871 | 21.3599
78 | 13 | 6 | 293.6637 | 52.3366 | 7.5114 | 0.80429 | 136.2236 | 4.3466
79 | 14 | 1 | 84.8781 | 26.6327 | 7.9402 | 0.84112 | 104.9287 | 23.0004
80 | 14 | 2 | 333.3064 | 16.7919 | 5.7489 | 1.7134 | 140.9449 | 25.5183
81 | 14 | 3 | 201.5824 | 30.5494 | 3.6591 | 10.4307 | 98.691 | 15.2456
82 | 14 | 4 | 537.971 | 37.4412 | 2.7949 | 0.66518 | 67.0308 | 20.2043
83 | 14 | 5 | 276.7258 | 21.3742 | 6.8259 | 6.5776 | 116.3113 | 16.4808
84 | 14 | 6 | 489.1524 | 29.8914 | 6.4946 | 4.4736 | 61.6437 | 22.3598
85 | 15 | 1 | 177.7441 | 52.989 | 11.4304 | 9.7563 | 104.518 | 9.5815
86 | 15 | 2 | 296.2747 | 17.2327 | 30.3224 | 8.6488 | 126.2994 | 26.7963
87 | 15 | 3 | 324.2537 | 58.6597 | 15.0442 | 4.3789 | 116.1454 | 23.4224
88 | 15 | 4 | 364.0607 | 47.3581 | 9.8013 | 5.4488 | 114.3244 | 10.2469
89 | 15 | 5 | 293.297 | 35.1636 | 22.7356 | 3.4143 | 35.0201 | 21.2923
90 | 15 | 6 | 423.8743 | 33.7957 | 13.4094 | 5.4488 | 122.0845 | 17.791
91 | 16 | 1 | 226.8124 | 55.3322 | 37.5154 | 9.323 | 75.7551 | 27.6731
92 | 16 | 2 | 314.4625 | 35.0365 | 3.6715 | 3.546 | 138.2155 | 18.2025
93 | 16 | 3 | 310.545 | 28.5764 | 31.6042 | 13.9098 | 143.2851 | 23.4802
94 | 16 | 4 | 183.7202 | 45.6905 | 17.8775 | 6.4865 | 104.886 | 29.7806
95 | 16 | 5 | 498.9279 | 64.7322 | 42.9202 | 5.7918 | 158.3775 | 26.4184
96 | 16 | 6 | 476.2645 | 79.6313 | 8.7504 | 9.913 | 101.7679 | 12.475
97 | 17 | 1 | 565.6061 | 45.1504 | 30.7938 | 2.6726 | 94.686 | 30.3149
98 | 17 | 2 | 645.4224 | 26.8053 | 23.3233 | 8.0119 | 91.7399 | 20.0842
99 | 17 | 3 | 958.1981 | 34.4811 | 34.6463 | 8.2221 | 83.0051 | 31.8778
100 | 17 | 4 | 815.6708 | 62.962 | 6.6671 | 8.089 | 115.6403 | 40.1316
101 | 17 | 5 | 800.1954 | 61.3513 | 34.8944 | 8.9446 | 72.3047 | 14.6988
102 | 17 | 6 | 395.7783 | 70.8271 | 41.224 | 6.3415 | 146.9271 | 26.7001
103 | 18 | 1 | 593.5204 | 75.8122 | 28.7138 | 10.3035 | 53.5769 | 27.4241
104 | 18 | 2 | 255.4104 | 30.1923 | 38.264 | 10.2604 | 115.703 | 37.9161
105 | 18 | 3 | 310.9863 | 63.4248 | 35.1998 | 12.1225 | 44.1864 | 14.0516
106 | 18 | 4 | 651.3588 | 63.6225 | 24.0421 | 8.6958 | 96.238 | 26.2034
107 | 18 | 5 | 523.8603 | 71.5359 | 6.7569 | 6.6668 | 52.016 | 35.9323
108 | 18 | 6 | 879.3946 | 36.1334 | 32.4731 | 6.7634 | 116.953 | 30.1868
109 | 19 | 1 | 557.6293 | 21.449 | 25.3016 | 0.90309 | 116.2501 | 26.725
110 | 19 | 2 | 218.6627 | 38.8381 | 12.2185 | 1.5524 | 109.3155 | 20.3534
111 | 19 | 3 | 207.3636 | 46.2221 | 11.9348 | 0.54331 | 83.1437 | 26.2
112 | 19 | 4 | 664.1076 | 62.6934 | 24.7966 | 7.8963 | 82.3725 | 18.3099
113 | 19 | 5 | 60.6424 | 42.3246 | 16.1046 | 3.0289 | 67.0561 | 12.7882
114 | 19 | 6 | 123.8691 | 60.2388 | 19.0273 | 9.9295 | 91.6928 | 14.4235
115 | 20 | 1 | 201.8736 | 34.6802 | 17.8365 | 8.7478 | 115.1035 | 22.0153
116 | 20 | 2 | 248.4037 | 72.6119 | 41.3493 | 5.7811 | 99.1111 | 17.2217
117 | 20 | 3 | 73.3661 | 33.6859 | 12.9143 | 9.2784 | 134.3084 | 18.9787
118 | 20 | 4 | 297.8653 | 56.5276 | 30.9023 | 7.8093 | 48.9334 | 28.3524
119 | 20 | 5 | 519.6011 | 60.6215 | 27.1095 | 2.8209 | 67.6384 | 25.9334
120 | 20 | 6 | 841.0161 | 46.2368 | 7.3333 | 3.7469 | 39.5197 | 26.2243
121 | 21 | 1 | 429.7944 | 80.6695 | 14.6886 | 3.2536 | 63.1083 | 19.1821
122 | 21 | 2 | 505.589 | 66.1565 | 34.0088 | 15.0713 | 83.0491 | 13.7011
123 | 21 | 3 | 508.1111 | 37.8634 | 42.5998 | 8.1399 | 88.6784 | 23.0896
124 | 21 | 4 | 511.3768 | 40.4151 | 17.1607 | 3.1951 | 82.0446 | 12.1469
125 | 21 | 5 | 418.4767 | 64.314 | 35.6823 | 9.3752 | 76.6184 | 17.3467
126 | 21 | 6 | 299.4568 | 66.4134 | 23.6232 | 12.9368 | 132.7724 | 24.1555
127 | 22 | 1 | 749.7746 | 36.2205 | 45.2195 | 6.9007 | 78.9505 | 35.5968
128 | 22 | 2 | 729.7123 | 64.7704 | 61.1891 | 7.825 | 121.003 | 28.4298
129 | 22 | 3 | 915.8219 | 74.1601 | 45.6131 | 11.304 | 54.7928 | 26.7623
130 | 22 | 4 | 525.4278 | 84.4814 | 61.7353 | 11.7411 | 89.3845 | 22.7681
131 | 22 | 5 | 940.8132 | 46.4378 | 26.2776 | 8.0375 | 97.0892 | 24.0656
132 | 22 | 6 | 763.4489 | 16.2256 | 32.565 | 5.2112 | 117.3635 | 13.0306
133 | 23 | 1 | 489.4796 | 52.1432 | 41.2826 | 11.8385 | 158.679 | 23.7552
134 | 23 | 2 | 688.1489 | 51.8467 | 33.7761 | 11.4262 | 60.5687 | 17.9553
135 | 23 | 3 | 570.7185 | 41.5093 | 48.0975 | 12.8187 | 96.8886 | 24.2574
136 | 23 | 4 | 306.888 | 61.9816 | 32.2394 | 13.4568 | 130.8909 | 30.2437
137 | 23 | 5 | 626.001 | 49.2589 | 23.0512 | 6.8356 | 81.9149 | 20.359
138 | 23 | 6 | 470.6245 | 61.2432 | 47.4426 | 7.2036 | 77.9235 | 20.998
139 | 24 | 1 | 347.4726 | 8.9367 | 35.4997 | 7.4066 | 109.7997 | 29.8147
140 | 24 | 2 | 668.6286 | 70.2448 | 24.8752 | 2.5089 | 100.9253 | 24.831
141 | 24 | 3 | 325.5434 | 54.1596 | 14.4011 | 4.6769 | 144.1739 | 11.5831
142 | 24 | 4 | 297.024 | 43.0924 | 29.6004 | 8.9886 | 66.3817 | 19.973
143 | 24 | 5 | 365.224 | 19.3146 | 16.1611 | 3.6059 | 89.6816 | 30.9127
144 | 24 | 6 | 26.5579 | 14.0812 | 38.6127 | 3.9772 | 161.4477 | 11.1927
145 | 25 | 1 | 133.7963 | 28.311 | 10.1851 | 1.663 | 127.7646 | 31.6976
146 | 25 | 2 | 258.4842 | 25.698 | 1.9997 | 5.449 | 96.4294 | 14.9771
147 | 25 | 3 | 706.3887 | 24.7714 | 25.1784 | 2.0923 | 126.8222 | 12.8737
148 | 25 | 4 | 278.0088 | 43.9774 | 41.2479 | 4.1326 | 76.2248 | 16.9795
149 | 25 | 5 | 136.2034 | 22.8573 | 21.3534 | 1.5221 | 108.3547 | 14.9426
150 | 25 | 6 | 143.6181 | 18.4476 | 0.6534 | 5.4506 | 117.0454 | 16.9947
151 | 26 | 1 | 284.987 | 36.7458 | 17.7817 | 1.3876 | 90.4905 | 12.5189
152 | 26 | 2 | 90.9247 | 8.4222 | 36.2578 | 5.8748 | 112.3633 | 15.1348
153 | 26 | 3 | 21.9876 | 36.1904 | 21.1686 | 4.0558 | 107.2693 | 14.3329
154 | 26 | 4 | 48.0507 | 26.6447 | 19.4569 | 0.51698 | 101.5818 | 33.2931
155 | 26 | 5 | 330.5261 | 3.4751 | 27.9533 | 9.0727 | 66.3975 | 6.7084
156 | 26 | 6 | 6.0228 | 7.9593 | 7.5418 | 3.2893 | 129.6679 | 18.6404
157 | 27 | 1 | 317.2472 | 47.5825 | 13.5118 | 10.9288 | 105.5579 | 6.7878
158 | 27 | 2 | 430.2956 | 23.7765 | 1.5799 | 5.3603 | 181.132 | 27.2401
159 | 27 | 3 | 68.347 | 22.7613 | 30.5766 | 3.0542 | 98.2801 | 18.6075
160 | 27 | 4 | 592.3087 | 33.7428 | 19.4673 | 6.4547 | 159.9382 | 8.4329
161 | 27 | 5 | 376.8616 | 4.4659 | 11.6762 | 4.0782 | 106.9222 | 14.2857
162 | 27 | 6 | 220.2747 | 30.954 | 17.9642 | 3.2295 | 161.5253 | 12.4294
163 | 28 | 1 | 483.2561 | 45.4155 | 19.1218 | 9.8859 | 104.6282 | 11.3265
164 | 28 | 2 | 316.1414 | 11.3426 | 14.3413 | 6.0117 | 99.5179 | 26.8613
165 | 28 | 3 | 1205.4208 | 43.013 | 31.0649 | 6.5183 | 89.9201 | 33.3205
166 | 28 | 4 | 857.8855 | 21.0568 | 45.711 | 3.4132 | 80.7447 | 22.166
167 | 28 | 5 | 661.104 | 40.6362 | 14.9059 | 3.5678 | 127.858 | 16.3857
168 | 28 | 6 | 616.2249 | 36.3321 | 15.8083 | 10.2225 | 94.9328 | 31.687
169 | 29 | 1 | 742.1706 | 39.7548 | 9.3465 | 9.2086 | 117.0457 | 25.1781
170 | 29 | 2 | 965.3811 | 23.3204 | 27.6194 | 10.104 | 161.0687 | 34.5308
171 | 29 | 3 | 813.8336 | 48.6629 | 31.2098 | 9.7435 | 76.6622 | 11.721
172 | 29 | 4 | 674.9883 | 37.9802 | 13.2675 | 3.9721 | 138.036 | 22.5951
173 | 29 | 5 | 1135.3335 | 47.6282 | 21.3098 | 12.6136 | 143.2294 | 33.9756
174 | 29 | 6 | 769.2442 | 30.1538 | 24.8924 | 5.6234 | 100.0358 | 21.0844
175 | 30 | 1 | 490.7752 | 34.7056 | 15.1097 | 6.407 | 68.471 | 29.0476
176 | 30 | 2 | 706.7209 | 39.8632 | 28.0112 | 4.6659 | 131.8013 | 31.7369
177 | 30 | 3 | 561.494 | 42.9515 | 34.1174 | 6.3706 | 58.1555 | 22.9528
178 | 30 | 4 | 719.5336 | 44.3233 | 26.7486 | 11.4743 | 156.1693 | 28.2094
179 | 30 | 5 | 582.5141 | 66.0337 | 19.7381 | 5.8351 | 88.4848 | 37.474
180 | 30 | 6 | 450.3063 | 45.1703 | 26.9324 | 5.039 | 76.464 | 27.6668
181 | 31 | 1 | 658.3625 | 37.9979 | 12.7191 | 7.4559 | 67.9331 | 16.5522
182 | 31 | 2 | 167.9126 | 52.6089 | 24.5178 | 7.069 | 16.3612 | 18.9681
183 | 31 | 3 | 440.5144 | 15.7562 | 32.2146 | 11.6216 | 77.3697 | 13.9714
184 | 31 | 4 | 328.2481 | 71.8027 | 18.6042 | 11.4427 | 111.0241 | 18.2806
185 | 31 | 5 | 342.6291 | 62.6887 | 30.4488 | 7.876 | 112.4973 | 16.0643
186 | 31 | 6 | 531.8703 | 20.1787 | 16.3369 | 10.1221 | 17.5998 | 25.5162
187 | 32 | 1 | 313.9423 | 85.8922 | 35.318 | 8.0479 | 39.8596 | 10.4026
188 | 32 | 2 | 552.7039 | 49.4581 | 22.12 | 3.9365 | 45.7655 | 19.6709
189 | 32 | 3 | 409.7373 | 66.9255 | 21.5237 | 6.9301 | 48.9841 | 13.1437
190 | 32 | 4 | 63.5617 | 29.5656 | 21.7488 | 2.9939 | 88.88 | 17.6977
191 | 32 | 5 | 741.7105 | 44.7376 | 7.2635 | 3.8153 | 78.6655 | 11.0409
192 | 32 | 6 | 233.2383 | 28.3532 | 12.5205 | 6.3322 | 66.1887 | 24.2726
193 | 33 | 1 | 615.73 | 68.5635 | 35.222 | 1.9975 | 98.8764 | 7.4647
194 | 33 | 2 | 590.15 | 52.8522 | 22.1157 | 7.2077 | 94.6998 | 3.9502
195 | 33 | 3 | 501.8225 | 66.7677 | 17.3028 | 7.8778 | 97.7442 | 26.7788
196 | 33 | 4 | 601.2065 | 43.2246 | 21.448 | 8.9824 | 109.5546 | 7.5673
197 | 33 | 5 | 652.0306 | 45.8013 | 27.0994 | 12.108 | 55.5581 | 25.0818
198 | 33 | 6 | 842.3675 | 58.4127 | 25.2064 | 6.5963 | 57.3129 | 19.9776
199 | 34 | 1 | 968.96 | 83.7767 | 51.5016 | 10.1786 | 178.539 | 27.2496
200 | 34 | 2 | 641.7843 | 14.9526 | 46.3637 | 12.6745 | 82.396 | 23.4852
201 | 34 | 3 | 954.2904 | 87.2307 | 46.4713 | 6.0722 | 106.2668 | 26.7732
202 | 34 | 4 | 557.5452 | 68.9097 | 51.7644 | 5.4733 | 127.0935 | 19.0637
203 | 34 | 5 | 628.2206 | 85.3841 | 29.4271 | 6.8074 | 70.1894 | 20.6166
204 | 34 | 6 | 367.9356 | 57.3105 | 69.8713 | 9.2274 | 54.4719 | 20.1281
205 | 35 | 1 | 655.6495 | 51.0476 | 19.4019 | 4.2352 | 117.6188 | 18.8983
206 | 35 | 2 | 734.2013 | 74.9301 | 28.3815 | 14.0478 | 158.847 | 15.4012
207 | 35 | 3 | 704.6133 | 45.9987 | 4.938 | 14.4953 | 211.9453 | 22.4649
208 | 35 | 4 | 597.6369 | 77.8285 | 43.8657 | 17.651 | 150.1364 | 27.1444
209 | 35 | 5 | 666.8499 | 67.4312 | 38.9043 | 11.1174 | 144.8926 | 20.5539
210 | 35 | 6 | 638.767 | 47.018 | 40.2325 | 11.1709 | 118.5035 | 21.956
211 | 36 | 1 | 244.9942 | 28.0345 | 18.5481 | 8.2722 | 90.0997 | 23.1699
212 | 36 | 2 | 202.0305 | 26.6686 | 48.095 | 9.1053 | 138.2848 | 37.9267
213 | 36 | 3 | 236.1618 | 28.9459 | 12.1112 | 10.7324 | 121.9309 | 14.3303
214 | 36 | 4 | 307.5051 | 46.2995 | 32.7582 | 7.2106 | 166.5624 | 28.2064
215 | 36 | 5 | 365.3687 | 36.3397 | 15.9723 | 3.6845 | 152.1661 | 15.1962
216 | 36 | 6 | 731.8503 | 6.6424 | 13.6752 | 3.824 | 171.8173 | 22.3229

## SpeedIndices_M2
Month | Block
1 | 1
2 | 1
3 | 1
4 | 1
5 | 1
6 | 1
7 | 1
8 | 1
9 | 1
10 | 1
11 | 1
12 | 1

## Storage_config
initial storage (pu) | min storage (pu) | max storage (pu) | capacity (Mwh) | Efficiency | max outflow (MWh/s) | Entrance_Stage | Linked | Portfolio | Area | forced_unavailability | historic_unavailability(%) | power rate

## Storage_expn
Modification | capacity (MW) | Efficiency | max outflow (MWh/s) | forced_unavailability | historic_unavailability (%)

## Lines
A_Initial | B_Final | A_to_B[MW] | B_to_Al[MW] | Efficiency | resistence | reactance

## Lines_expn
A_Initial | A_Final | stage | A_to_B[MW] | B_to_Al[MW] | Efficiency | resistence | reactance

## FlowGates
flowgate | lines | flow_limit | stage_ini | stage_fin | NI_L1 | NF_L1 | NI_L2 | NF_L2 | NI_L3 | NF_L3 | NI_L4 | NF_L4 | NI_L5 | NF_L5 | NI_L6 | NF_L6

## Demand
Month | National | Area 1
2018-01-01 12:00:00 | 20 | 10
2018-02-01 12:00:00 | 60 | 10
2018-03-01 12:00:00 | 30 | 10

## Blocks
Block | Duration(%) | Participacion(%) | Storage_restrictions
1 | 0 | 0 | 0